## Sheet1
For additional information, see: Elmallah, S., Brockway, A. M., & Callaway, D. (2022). Can distribution grid infrastructure accommodate residential electrification and electric vehicle adoption in Northern California? In Environmental Research: Infrastructure and Sustainability (Vol. 2, Issue 4, p. 045005). IOP Publishing. https://doi.org/10.1088/2634-4505/ac949c
Column | Description
FeederID | Unique ID of distribution feeder
Feeder_Name | Name of distribution feeder
SubID | ID of distribution substation
Substation | Name of distribution substation
Nominal_Voltage | Nominal voltage of distribution feeder, provided by PG&E
Load_Profile | Indicates availability of a load profile for that feeder from PG&E
CZ | California Energy Commission Climate Zone
COUNTYFP10 | County FIPS code (excluding leading '06' for California)
NAME10 | Name of County
mhid | ID indicating month-hour combination
Month | Month of year
Hour | Hour of day
ResCust | Number of residential customers on feeder, provided by PG&E
ComCust | Number of commercial customers on feeder, provided by PG&E
IndCust | Number of industrial customers on feeder, provided by PG&E
AgrCust | Number of agricultural customers on feeder, provided by PG&E
OthCust | Number of other customers on feeder, provided by PG&E
TotCust | Total number of customers on feeder, provided by PG&E
MonthHour | Concatenated month and hour, separated by "_"
l_kW | Low load on feeder (kW), provided by PG&E
h_kW | High load on feeder (kW), provided by PG&E
ldinc_RE2_2030_kW | Load increase for residential electrification reference scenario by 2030 (kW)
ldinc_RE2_2040_kW | Load increase for residential electrification reference scenario by 2040 (kW)
ldinc_RE2_2050_kW | Load increase for residential electrification reference scenario by 2050 (kW)
ldinc_RE3_2030_kW | Load increase for residential electrification medium scenario by 2030 (kW)
ldinc_RE3_2040_kW | Load increase for residential electrification medium scenario by 2040 (kW)
ldinc_RE3_2050_kW | Load increase for residential electrification medium scenario by 2050 (kW)
ldinc_RE4_2030_kW | Load increase for residential electrification high scenario by 2030 (kW)
ldinc_RE4_2040_kW | Load increase for residential electrification high scenario by 2040 (kW)
ldinc_RE4_2050_kW | Load increase for residential electrification high scenario by 2050 (kW)
ldinc_EV0_2030_kW | Load increase for electric vehicle demand response charging scenario by 2030 (kW)
ldinc_EV0_2040_kW | Load increase for electric vehicle demand response charging scenario by 2040 (kW)
ldinc_EV0_2050_kW | Load increase for electric vehicle demand response charging scenario by 2050 (kW)
ldinc_EV1_2030_kW | Load increase for electric vehicle standard charging scenario by 2030 (kW)
ldinc_EV1_2040_kW | Load increase for electric vehicle standard charging scenario by 2040 (kW)
ldinc_EV1_2050_kW | Load increase for electric vehicle standard charging scenario by 2050 (kW)
ldinc_EV3_2030_kW | Load increase for electric vehicle more commercial charging scenario by 2030 (kW)
ldinc_EV3_2040_kW | Load increase for electric vehicle more commercial charging scenario by 2040 (kW)
ldinc_EV3_2050_kW | Load increase for electric vehicle more commercial charging scenario by 2050 (kW)
ldinc_EV4_2030_kW | Load increase for electric vehicle more residential charging scenario by 2030 (kW)
ldinc_EV4_2040_kW | Load increase for electric vehicle more residential charging scenario by 2040 (kW)
ldinc_EV4_2050_kW | Load increase for electric vehicle more residential charging scenario by 2050 (kW)
ldinc_lo_2030_kW | Load increase for combined scenario A by 2030 (kW)
ldinc_lo_2040_kW | Load increase for combined scenario A by 2040 (kW)
ldinc_lo_2050_kW | Load increase for combined scenario A by 2050 (kW)
ldinc_hi_2030_kW | Load increase for combined scenario B by 2030 (kW)
ldinc_hi_2040_kW | Load increase for combined scenario B by 2040 (kW)
ldinc_hi_2050_kW | Load increase for combined scenario B by 2050 (kW)
ldinc_dr_2030_kW | Load increase for combined scenario C by 2030 (kW)
ldinc_dr_2040_kW | Load increase for combined scenario C by 2040 (kW)
ldinc_dr_2050_kW | Load increase for combined scenario C by 2050 (kW)
B_md | Median of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
B_mn | Minimum of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
B_mx | Maximum of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
B_p1 | 10th percentile of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
B_p9 | 90th percentile of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
B_q1 | 25th percentile of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
B_q3 | 75th percentile of combined load integration capacity limit (lowest of thermal and voltage limits) for line segments on feeder (kW)
T_md | Median of thermal limit for line segments on feeder (kW)
T_mn | Minimum of thermal limit for line segments on feeder (kW)
T_mx | Maximum of thermal limit for line segments on feeder (kW)
T_p1 | 10th percentile of thermal limit for line segments on feeder (kW)
T_p9 | 90th percentile of thermal limit for line segments on feeder (kW)
T_q1 | 25th percentile of thermal limit for line segments on feeder (kW)
T_q3 | 75th percentile of thermal limit for line segments on feeder (kW)
V_md | Median of voltage limit for line segments on feeder (kW)
V_mn | Minimum of voltage limit for line segments on feeder (kW)
V_mx | Maximum of voltage limit for line segments on feeder (kW)
V_p1 | 10th percentile of voltage limit for line segments on feeder (kW)
V_p9 | 90th percentile of voltage limit for line segments on feeder (kW)
V_q1 | 25th percentile of voltage limit for line segments on feeder (kW)
V_q3 | 75th percentile of voltage limit for line segments on feeder (kW)